## Details Latvia
No. | Service | Specific description of service | Head of laboratory (name, surname, e-mail address)
LU, Faculty of Geography and Erth Science, Soil labaratory, Environmental Laboratory (address: Jelgavas street 1, Riga., Latvia)
Regularity of soil chemical (C, N, S, P, K, CEC, ect.) properties, soil OM analysis (FTIR, UV-Vis, Fluorescence analysis), soil texture.
1. | Analyses of soil and peat | Elemental analysis C, N (Eurovector) | Linda Dobkeviča
2. |  | N-total (by Kjeldahl method) | linda.dobkevica@lu.lv
3. |  | Ca2+, Mg2+, K+, Na+, Mn2+, Fe3+, Al3+ ( ISO 11260 & ISO 14254 by atomic absorption spectroscopy)
4. |  | P-by total spectrophotometrical method
5. |  | Humus (by Tiurin's method)
6. |  | Ctot - Shimadzu TOC VCSN analyser
7. |  | Soil humic substances alkali extraction, fraction analysis (UV-Vis, synnchronous/emission fluorescence spectrometry, FTIR analysis
8. |  | pH – by potentiometric method
9. |  | Nitrate (or nitrate N) determination by spectrophotometric method
10. |  | Ammonium (or ammonium N) determination by spectrophotometric method
11. |  | Microwave-assisted digestion procedures for total metals and determination with ICP-OES
12. |  | Forms of extractable Iron and Aluminum in soils
13.
14.
15.
16.
17.
18.
19. | Soil water analyses | Electric conductivity
20. |  | Dissolved total carbon (TC), inroganic carbon (IC) and organic carbon (TOC) - Shimadzu TOC VCSN analyser
21. |  | Fosphates (P-PO4), ammonium (N-NH4), nitrates (N-NO3), nitrites (N-NO2) - spectrophotometrically
22. |  | Si, Fe, - pectro
23. |  | Sulphates (SO42-) turbidimetrically
24. |  | HCO3- content - potentiometrically
25. |  | Chloride (Cl-) - titrimetrically
26. |  | Water hardness - spectrophotometrically
27. |  | Ca2+, Mg2+ - titrimetrically
28. |  | Total phospohorous - spectrophotometrically
29. |  | Total nitrogen - Kjeldahl method
30. |  | Chemical oxigen demand - titrimetry
31. |  | pH – by potentiometric method