## The Nederlands
List of laboratories relevant for EJP Soil
|  | Laboratory information | [10 empty] | Information on university/institute |  |  | Contact information
Physical, virtual, both | Comments | Laboratory name | Country | City | Description | Martrices (e.g. soil, water, sludge,..) | routine lab (yes/no) | research lab (yes/no) | accredited (yes/no) | methods | Eurosolan member (yes/no) | special remarks | University/Institute | EJP Soil partner | Department | Name of contact person | Email address | Web page
P |  | Wageningen University & Research, Chemical Biological Soil Laboratory (CBLB) | Netherlands | Wageningen | laboratory for chemical analyses in soil, crop and water samples and soil biology and chemistry research | soil, crop and water | no | yes | no |  |  |  | Wageningen Research | Yes | Environmental Science Group | Anne Roepert | anne.roepert@wur.nl | https://www.wur.nl/en/Research-Results/Research-Institutes/Environmental-Research/Facilities-Products/Environmental-Sciences-Laboratories/Chemical-Biological-Soil-Laboratory-CBLB.htm
B |  | Wageningen University & Research, Soil Hydro-Physics Laboratory (SHP) | Netherlands | Wageningen | laboratory for analysis of soil samples on water, gas and nutrients flow and retention | soil, water, gas | yes | yes | no |  |  |  | Wageningen University AND Research | Yes | Environmental Science Group | Gerben Bakker | gerben.bakker@wur.nl | https://www.wur.nl/en/Research-Results/Research-Institutes/Environmental-Research/Facilities-Products/Environmental-Sciences-Laboratories/Soil-Hydro-Physics-Laboratory.htm

## Details Netherlands
WAGENINGEN UNIVERSITY
CHEMICAL BIOLOGICAL LABORATORY for WUR SOIL CENTRE
Building 100 (Lumen)
Droevendaalsesteeg 3a
6708 PB Wageningen
phone (0317) 48 20 70
pretreatment | apparatus for analysis | element / analyse / fraction | procedure
WATER
digest H2SO4/H2O2/Se | SFA-Nt/Pt | NH4 PO4 | E1408
0.01 M CaCl2 and water | SFA-CaCl2 | NO3+NO2 NH4 Nts PO4 | E1417
0.01 M CaCl2 and water | SFA-P-laag | P-PO4 (≤ 0,2 mg/l) | E1428
0.01 M CaCl2 and water | SFA-TOC | TOC / DOC (of TC-IC) | E2507
water | FIA | Cl | E1400
water | ICP-AES | Al Ca Cu Fe K Mg Mn Na P S Zn | E1324
water (content < 1 mg/l) | ICP-MS | Al As Ba Cd Co Cr Cu Fe La Li Mn Mo Ni P Pb Sb Sn Sr Ti V | E1319
water | pH-meter | pH | E0103
water | EC-meter | EC | E0102
water | titratie-opstelling | alkaliniteit | E0111
water | TOC-analyser | IC NPOC TC TN | E2511
destructie water+deeltjes Aqua Regia (magnetron) | ICP-AES | S | E1013
| ICP-MS | Al As Cd Cu Fe La Ni P Pb Zn | E1013
digestion water+particles persulfate / borate | SFA-CaCl2 | NO3+NO2 PO4 | E1012
PLANT MATERIAL
digestion H2SO4/H2O2/Se | SFA-Nt/Pt | Nt Pt | E1406
| F-AES | K | E1415
total digestion HNO3/HF/H2O2 (microwave) | ICP-AES | Al Ca Cu Fe K Mg Mn Na P S Zn | E1310
acid-extractable digestion HNO3/HCl/H2O2 (microwave) | ICP-AES | Al Ca Cu Fe K Mg Mn Na P S Zn | E1361
| ICP-MS | As Cd Co Cr Mo Ni Pb | E1361
extraction H2O | FIA | Cl | E1429
determination of F | SFA-F | F | E1421
determination C/N (macro-170 mg) | LECO | C N | E0114
determination C/N (micro- 3 mg) | Thermo | C N
moisture content (70 oC→105 oC) | drying oven | moisture | E0005
SOIL
Total analysis:
digestion HNO3/HCl (Aqua Regia) | ICP-AES | Al Ca Cr Cu Fe K Mg Mn Na Ni P S Zn | E1307
| ICP-MS | As Cd Co Cr Cu Mo Ni Pb V | E1314
digestion H2SO4/H2O2/Se (without colloid grinding) | SFA-Nt/Pt | Nt Pt | E1407
Bioavailable analysis:
extraction 0.01 M CaCl2 | pH-meter | pH | E0104
| SFA-CaCl2 | NO3+NO2 NH4 Nts PO4 | E1409
| SFA-P-laag | PO4 (≤ 2 mg/kg) | E1428
| SFA-TOC | DOC (of TC-IC) | E2508
| ICP-AES | Al Cu Fe K Mg Mn Na P S Zn | E1301
| ICP-MS | As Cd Co Cr Cu Ni Pb V Zn | E1317
sieving (5 mm) and homogenising | n.a. | n.a. | n.a.
extraction 1 M KCl | SFA-H2O/KCl | NO3+NO2 NH4 | E1410
dry matter (field moist→105 oC) | drying oven | dry matter | E0101
extraction 0.43 M HNO3 | ICP-AES | Al Ca Cr Cu Fe K Mg Mn Na Ni P S Zn | E1306
| ICP-MS | As Cd Co Cr Cu Ni Pb | E1352
extraction ammoniumoxalate/acid-oxalic | ICP-AES | Al Fe Mn P | E1351
extraction citraat/dithioniet (NEN-5739) | ICP-AES | Fe (Al Mn P) | E1364
P ammonium lactate-acetatic acid (P-Al) | SFA-Nt/Pt | PO4 | E1422
P by Bray-method | SFA | PO4 | E1423
P by Bray en Kurtz-method | SFA | PO4 | E1423
P by Olsen-method | SFA-CaCl2 | PO4 | E1424
P in water extract (including weight) | SFA-CaCl2 | PO4 | E1425
P by Mehlich III | SFA | PO4 | E1431
Pi-determination (7 time periods) | ICP-AES (SFA) | P (PO4) | E1348
Soil characteristic parameters:
extraction H2O | EC-meter | EC | E0107
particle size distribution (sieve and pipet) | pipet | <2 <16 <50 >50 | E0109
CEC base saturation actual | ICP-AES | cations: Al Ca Fe K Mg Na / CEC | E1302
CEC base saturation potential Bascomb | ICP-AES | cations: Ca Mg / CEC | E1303
moisture content (40oC→105oC) | drying oven | moisture | E0101
loss on ignition | furnace | organic matter | E0100
determination of C/N (without collid grinding) | LECO | C N | E0113
determination of pH | pH-meter | pH-CaCl2 pH-H2O pH-KCl | E0106
organic carbon Kurmies (without colloid grinding) | spectrophotometer | C | E1413
determination of carbonate (volumetric) | Scheibler | CO3 + HCO3 | E0112
extraction K - HCl | F-AES | K | E1208
extraction Mg - NaCl | ICP-AES | Mg | E1209
Determinations performed in the Soil Hydro-Physics lab Wageningen University & Research
Conductivity Measurements
Drip infiltrometer: Determination of unsaturated hydraulic conductivity characteristic
Pressure head range: from -1 to – 100 cm
Ksat -Constant head: Determination of saturated hydraulic conductivity. NEN5789.
Pressure head range: 0 cm (saturated)
Ksat - Deformation: Determination of saturated hydraulic conductivity as a function of soil deformation c.q. bi-axial strain
Ksat -Falling head: Determination of saturated hydraulic conductivity of low permeable soils. Pressure head range: 0 cm (saturated)
Multi compartment sampler: For measuring water fluxes at a high spatial resolution (100 separate cells, 3.1 x 3.1 cm)
Capillary rise: Determination of capillary rise given a certain amount of evaporation, using evaporation method.
Pressure head range: from 0 to – 800 cm
Gravimetrical method: Determination of water content and dry bulk density Pressure head range: arbitrary. NEN5781/ISO11272
Evaporation method: Determination of water retention characteristic and unsaturated hydraulic conductivity.
Pressure head range:from 0 to – 800 cm. NEN5791/ISO11275
Multistep: Determination of water retention characteristic and unsaturated hydraulic conductivity.
Pressure head range: from 0 to – 1000 cm
Gas Measurements
Greenhouse gas measurements: Measuring greenhouse gas fluxes of different greenhouse gases (N2O, CO2, CH4) from (un)disturbed samples using a photo-acoustic infrared multi-gas monitor
Oxygen profile method: Determination of O2 profiles in soil samples as a function of water content and time
Retention Measurements
Polymer Tensiometer: Measuring matric pressures in soil up to -1.6 MPa. Water filled tensiometers function only up to –0.085 MPa (link to PDF infosheet; 27,4 Kb)
Hanging water column: Determination of water retention characteristic (including hysteresis).
Pressure head range: from -5 to – 200 cm NEN5786/ISO11274
Kaolin box: Determination of water retention characteristic (drying or wetting cycle). NEN5787/ISO11274
MAPHSS: Method with Automatically imposed Pressure Heads on Soil Samples. Fully automatic determination of water retention characteristic (including hysteresis). Pressure head range: from -0.5 to – 600 cm
Pressure cells: Determination of water retention characteristic (drying cycle). NEN5788/ISO11274
Sand Box: Determination of water retention characteristic (drying or wetting cycle). NEN5787/ISO11274
Suction Plate: Determination of water retention characteristic (drying or wetting cycle)
Water repellency Alcohol% test: Determination of soil water repellency, making use of increasing alcohol percentages: the higher the alcohol percentage needed to infiltrate a dilution drop in 5 sec. the more water repellent.
Water repellency Critical Soil Water Content: Determination of water content below which soil is water repellent and above which it is wettable
Water repellency WDPT-test: Quantifying water repellency by determining the Water Drop Penetration Time of 3 water drops on soil samples.
Water repellency Wetting Rate: Measurement of the rate of wetting of dry soil samples
Evaporation method: Determination of water retention characteristic and unsaturated hydraulic conductivity.
Pressure head range: from 0 to – 800 cm. NEN5791/ISO11275
Multistep: Determination of water retention characteristic and unsaturated hydraulic conductivity.
Pressure head range: from 0 to – 1000 cm
Oxygen profile method: Determination of O2 profiles in soil samples as a function of water content and time
Shrinkage Characteristics: Determination of shrinkage by measuring weights and volumes of peat and clay soil samples during evaporation.
Capillary rise: Determination of capillary rise given a certain amount of evaporation, using evaporation method.
Gravimetrical method: Determination of water content and dry bulk density. NEN5781/ISO11272
Structure and Texture Measurements
Aggregate Stability: Determination of stability of soil aggregates in wet sieving apparatus
Atterberg limits: Determination of the Plasticity Limit, Liquid Limit with the Casagrande apparatus, and the Plasticity Index.
Gravimetrical method: Determination of water content and dry bulk density. NEN5781/ISO11272
Organic Matter: Determination of Glow Loss and a near approximation of Organic Matter. NEN5754
Pore Volume: Determination of the volume of the pores in undisturbed soil samples
Texture analysis: Determination of the grain size distribution with the pipette method and by sieving
Uniaxial test (compression test): Determination of compression and pressure head in time at different applied mechanical forces up to 7 bar
X-ray Tomography: Determination of 3D pore structure of various porous media
Soil water retention curve
Soil water hydraulic conductivity curve (saturated and unsaturated)
Air dry mass water content (h=-10^6 cm)
Evaporation_Mualem-Van Genuchten Fit
Soil shrinkage Characteristic (h=0 until -10^6cm)
Water Content or Wetness (Volumetric or Gravimetric Water Content) (T=105 dgr.C)
Water Repellency: Water or Alcohol Penetration Test
Wetting rate
CO2, NH4, N2O emissions with gas monitors